## Master
ICC 2019 Code Development Cycle | [19 empty] | Key: AS - Approve / Approved As Submitted D - Disapprove / Disapproved N - Neutral W - Withdraw / Withdrawn by proponent M - Monitor M / AS - Monitor or Approve as Submitted M / D - Monitor or Disapprove M / N - Monitor w/ Neutral position AM - Approved as Modified AMPC - Approved as Modified by Public Comment
Updated May 9, 2019 | [10 empty] | Abbreviations: See Key è
Code | Prefix | # | Part | Section | Proponent | Topic / Issue | Proposal Developed | Proposal Submitted | ICC Proposal # | Priority 1=High 3=Low | Desired End Result | Comm. Action | Submit Public Comment? Y / N | On PCH Agenda Y / N | Desired Public Comment Hearing (PCH) Results | PCH Result | Final Action Result | Details | Notes / Comments
IBC | ADM | 23 | 1 | 104.11.1, 107.3.1.1 | Michael Savage, CCAC | Approved agencies. 3rd party certification |  |  |  | 1 | D | D | [5 empty] | Req's product certification agencies and product evaluation agencies to be accredited for what they certify / evaluate. Req's 3rd party certification for all products and materials req'd to comply with a reference standard. Adds definition of 3rd party certification agency. | AM Shackelford-4 (supported but not adequate) D 13/0
IBC | ADM | 23 | 2 | 202 | Michael Savage, CCAC | Definition: Accreditation Body |  |  |  | 2 | M / D | D | [5 empty] | Revises definition of Accreditation Body
IBC | ADM | 26 |  | 105.7.26 (new) | Bob Morgan, Fort Worth FD | Electrically locked egress doors. |  |  |  | 1 | M | D | [5 empty] | Req's a construction permit for installation or modification of electrically locked egress doors; and a separate construction permit for related fire alarm modifications. Excludes maintenance. | Might requiring a permit have a tendency to curtail installing electrical locking systems?
IBC | ADM | 45 |  | Appendix O (new) | Ali Fattah, City of San Diego | Approval of product evaluation and listing services |  |  |  | 2 | M | AS | [5 empty] | Provides guidance to code officials for approving (or not) product evaluation agencies and product listing agencies.
IBC | ADM | 47 | IBC | Chapter 35 | Staff | Reference standards |  |  |  | 2 | M | AM | [5 empty] | Updates numerous reference standards | A156.10-2017; A156.19-2020; A156.27-2019; A156.38-2020; ASCE 7-16 w/ Supplement 1; UL 294-2018; Update for A117.1 in ADM47 in errata. AM Humble 10, Manley 9, and Goupil 5
IFC | ADM | 47 | IFC | Chapter 35 | Staff | Reference standards |  |  |  | 2 | M | AM | [5 empty] | Updates numerous reference standards | A156.10-2017; A156.19-2020; A156.27-2019; A156.38-2020; ASCE 7-16 w/ Supplement 1; UL 294-2018; Update for A117.1 in ADM47 in errata. AM Shapiro 3
IECC-C | CE | 70 |  | Table C402.1.3, Table C402.1.4 | Connor Barbaree, ASHRAE | Opaque thermal envelope prescriptive values |  |  |  | 2 | M | AS | [5 empty] | Deletes entire R-value line of req's for nonswinging opaque doors in R-value table (Table C402.1.3). Inserts entire U-factor line of req's (U-0.31) for nonswinging opaque doors in U-factor table (Table C402.1.4). Revises from U-0.61 to U-0.37 in CZs 1-4 for swinging opaque doors. Requires U-factor of swinging doors to be determined per NFRC-100. | Part of tables missing in proposal. Proposed req's for horizontally hinged section doors (C402.4.5.2) seems to conflict with req's for garage doors in Table C402.1.4)
IECC-C | CE | 84 |  | Table C402.4 | Tom Culp, Jeff Inks, Jennifer Hatfield, Chris Mathes | Fenestration U-factors |  |  |  | 2 | M | AS | [5 empty] | Reduces max. U-factor req's for fixed fenestration, operable fenestration, and entrance doors. Also reduces slightly SHGC max in CZs 1, 6-8.
IECC-C | CE | 85 |  | Table C402.4 | Bill Fay, EECC, Daniel Bresette, ASE, Mureen Guttman, et al | Fenestration U-factors |  |  |  | 2 | M | AS | [5 empty] | Reduces max. U-factor req's for fixed fenestration, operable fenestration, and entrance doors. | Any concerns?
IECC-C | CE | 105 |  | C402.5.7.1 (new) | Dan Buuck, Dave Collins, Gene Boecker, Marsha Mazz, Dawn Anderson | Vestibules and revolving doors. |  |  |  | 2 | M / AS / AM | D | [5 empty] | Inserts req's for revolving doors to comply with IBC 1010.1.4.1, and automatic doors per IBC 1105.1.1., and compliance req's for vestibules. | Woestman-1 floor mod fixes term in proposal. IBC 1010.1.4.1 is correct reference for revolving doors. IBC 1105.1.1. was added by E115-18 during 2018 code development cycle and req's power operated doors in some or low-power operated doors in some accessible entrances. Would be better to refer to "power operated doors" v. "automatic doors". In 2021 CDC, should revise title of IBC 1105.1.1 to "power operated doors", and add req't in 1105.1.1 to comply with 1010.1.4.2.
IEBC | EB | 5 |  | Many | Eirene Knott, MKCC ICC | Accessibility for existing buildings |  |  |  | 2 | M | D | [5 empty] | Inserts explicit accessibility req's in several chapters. | Most proposed req's reference IBC and / or A117.1.
IEBC | EB | 6 |  | Chapter 4 | Eirene Knott, MKCC ICC | Repairs |  |  |  | 2 | M | D | [5 empty] | Deletes most of Chapter 4 Repairs, and moves general statements in Chapter 4 to 306 Repairs.
IEBC | EB | 7 |  | Several | Eirene Knott, MKCC ICC | Repairs |  |  |  | 2 | M | D | [5 empty] | Disburses repairs req's into each of the three compliance methods.
IEBC | EB | 20 |  | 305 | Gina Hilberry, A117.1, et all | Accessibility for existing buildings |  |  |  | 2 | M | AS | [5 empty] | Moves exceptions in 305.6 to new sections.
IEBC | EB | 22 |  | 305.9 | Dawn Anderson, self, Gene Boecker, Dan Buuck, Dave Collins, Marsha Mazz | Historic buildings |  |  |  | 2 | M | AM | [5 empty] | Adds blanket exception accessible means of egress is not req'd in historic buildings | Seems the proposed exception conflicts with charging language. AM Mazz-1 and Buuck-1
IEBC | EB | 23 |  | 305.2.1 | Gina Hilberry, A117.1, et all | Accessibility for existing buildings - alterations |  |  |  | 2 | M | AM | [5 empty] | Moves part of 305.3 to a new section. Expands to include req's consistent with new construction.
IEBC | EB | 27 |  | 305.4.2 | Gina Hilberry, A117.1, et all | Accessibility for existing buildings - alterations |  |  |  | 2 | M | D | [5 empty] | Deletes exception that permits not requiring an accessible route to Type B units.
IEBC | EB | 28 |  | 305.6 | Gina Hilberry, A117.1, et all | Accessibility for existing buildings - alterations |  |  |  | 2 | M | AS | [5 empty] | Deletes exception that permits not requiring an accessible route in the altered space.
IEBC | EB | 31 |  | 305.8.14 | Gina Hilberry, A117.1, et all | Accessibility for existing buildings - alterations |  |  |  | 2 | M | AS | [5 empty] | Deletes 305.8.14 re: threshold max height as being redundant with A117.1. Also deletes 3 other sections not pertinent.
IEBC | EB | 36 |  | 305.9 | Dawn Anderson, self, Gene Boecker, Dan Buuck, Dave Collins, Marsha Mazz | Accessibility for existing buildings - historic buildings |  |  |  | 2 | M | AS | [5 empty] | Proposes two additional exceptions for historic buildings to create same list as for existing buildings. | Format is not exactly correct. Exception 3 should not be underlined.
IEBC | EB | 38 |  | 306.1 (new) | Steve Thomas, self. | Occupant load |  |  |  | 2 | M | D | [5 empty] | Proposes max. occupant load of existing buildings may be based existing means of egress capacity.
IEBC | EB | 62 |  | 503.17 (new), 704.2 (new) | Ed Kulik, BCAC | Locking arrangements in educational occupancies |  |  |  | 1 | AS | AS | [5 empty] | Req's egress doors with locking arrangements to comply with IBC 1010.1.4.4.
IEBC | EB | 89 |  | 805.4.4 | Jon Roberts, UL | Panic and fire exit hardware |  |  |  | 2 | AS | AS | [5 empty] | Revises req's to include "or fire exit hardware" where panic hardware is required.
IRC | RB | 1 |  | R104.11.1, R106.3.1.1 | Michael Savage, CCAC | Approved agencies. 3rd party certification |  |  |  | 2 | M | D | [5 empty] | Req's product certification agencies and product evaluation agencies to be accredited for what they certify / evaluate. Req's 3rd party certification for all products and materials req'd to comply with a reference standard. Adds definition of 3rd party certification agency. | Cost impact is incorrect.
IRC | RB | 11 |  | R202 | Don Sivigny, MN | Definition - flashing |  |  |  | 2 | M / D / AM | D | [5 empty] | Proposes definition of "flashing" | Should "non-corrosive" be " corrosion-resistant"?
IRC | RB | 69 |  | R302.5.1 | Kevin Duerr-Clark NYS, Ronald Stark, NYS | Opening protection - door from house to garagae |  |  |  | 2 | M / AS | AM | [5 empty] | Req's door to be self-latching (in addition to self-closing or automatic-closing). | AM Gonzalez-3
IRC | RB | 146 |  | 202, R106.1.5, R323.1.1 (new) | Marc Levitan, ICC 500 SSDC, Benchmark Harris, NSSA | Storm shelters |  |  |  | 2 | M / AS? | AS | [5 empty] | Adds definition of Storm Shelter. Includes req's for construction docs. Req's construction docs to be sealed by a RDP indicating design meets criteria of ICC 500.
IRC | RB | 155 |  | R327 | Sharon Bonesteel, SRP, Matt Paiss, ERS | Energy storage systems |  |  |  | 2 | M / AS? | D | [5 empty] | Adds req't for door opening protection to rooms with ESS. Door req'd to be self-closing or automatic-closing.
IRC | RB | 300 |  | Appendix U (new) | Eirene Knott, MKCC ICC, David Allen, Ron Olberding | Physical security |  |  |  | 1 | M / AS / AM | D | [5 empty] | New appendix with prescriptive req's for doors to improve resistance to unwanted entry. Includes req't for exterior door locks to be provided with a deadbolt and Grade 2 per ANSI/BHMA. | No specific BHMA std is specified. Potential floor mod to reference A156.40 and Security Grade A or Grade B?
IBC | S | 108 |  | 1709.5 | Jennifer Hatfield, AAMA | Exterior windows and doors, design pressure |  |  |  | 2 | M | AS | [5 empty] | Revises exception to allow comparative analysis, per proposed AAMA 2502, of larger (and smaller) units than what was tested structurally.
IBC | S | 109 |  | 1709.5.2, 1709.5.2.1 (new) | Jennifer Hatfield, AAMA | Garage doors and rolling doors |  |  |  | 1 | M | AM | [5 empty] | Creates new section with existing and proposed req's for garage doors and rolling doors. Add's req't for permanent label. | Proposed permanent label includes details such as mfg, door ID info, + & - DP, etc. IF proposal accepted, could this req't carry over to other fenestration products? AM Fischer-1
IBC | S | 110 |  | 1709.5 (new) | Eric Stafford, IBHS | Wind-borne debris protection |  |  |  | 2 | M | AM | [5 empty] | Proposes req's in Chapter 17 for wind-borne debris protection of exterior glazing by impact protective systems. | Requiring impact protective systems to pass ASTM E330 testing may not be appropriate. Usually, the glazed assembly must pass E330 (wind load), and the impact protective system protects from impacts of wind borne debris. Most impact protetive systems are too porous to be tested to E330. AM Stafford-2 and Ehrlich-3