## Master
ICC 2018 Code Development Cycle | [16 empty] | Key: AS - Approve / Approved As Submitted D - Disapprove / Disapproved N - Neutral W - Withdraw / Withdrawn by proponent M - Monitor M / AS - Monitor or Approve as Submitted M / D - Monitor or Disapprove M / N - Monitor w/ Neutral position AM - Approved as Modified AMPC - Approved as Modified by Public Comment
Updated Dec. 19, 2018 | [7 empty] | Abbreviations: See Key è
Code | Prefix | # | Part | Section | Proponent | Topic / Issue | Priority 1=High 3=Low | Desired End Result | Comm. Action | Submit Public Comment? Y / N | On PCH Agenda Y / N | Desired Public Comment Hearing (PCH) Results | PCH Result | Final Action Result | Details | Notes / Comments
IBC | E | 7 |  | Table 1004.5 | Dave Frable, GSA | Max. floor area allowances per occupant | 2 | M | D |  | N |  | D | D | Adds line items for collaboration areas and conference rooms
IBC | E | 9 |  | 1004.9 | Steve Thomas, CCC | Occupant load based on capacity. | 2 | M | D |  | N |  | D | D | Defines occupant load based on existing capacity of means of egress. | Seems backwards for new buildings - nothing is existing.
IBC | E | 10 |  | 1005.7.1 | Keith Flanders, Cosentini Assoc. | Encroachment of doors into MOE | 2 | D | D |  | N |  | D | D | Adds exception for self- or automatic-closing doors. | In other words, proponent thinks self- or auto-closing doors should be exempt from req's prohibiting too much encroachment into the req'd egress width (for egress capacity).
IBC | E | 15 | 1 | 1006.2.2.2 | Jeff Shapiro, IIAR | Refrigeration machinery room. | 2 | AS / AM | AS |  | Y | AMPC1 and / or AMPC2 | AMPC2 | AMPC2 | Adds req't for panic hardware on doors. | Should Section 1010.1.10 be referenced? Could require panic hardware or fire exit hardware complying with Section 1010.1.10.
IBC | E | 15 | 1 | 1006.2.2.2 | Jeff Shapiro, IIAR | Refrigeration machinery room. | 2 | AS / AM | AS |  | Y | AMPC1 and / or AMPC2 | AMPC2 | AMPC2 | PC1, Kulik, BCAC, AM: Add's req't in 1010.1.10.1 for panic or fire exit hardware on doors from refrigeration machinery rooms.
IBC | E | 15 | 1 | 1006.2.2.2 | Jeff Shapiro, IIAR | Refrigeration machinery room. | 2 | AS / AM | AS |  | Y | AMPC1 and / or AMPC2 | AMPC2 | AMPC2 | PC2: Pate, CCCCC, AM: Add's req't for not less than 2 exits for RMR larger than 1,00 sq. ft.
IMC | E | 15 | 2 | 1105.1 | Jeff Shapiro, IIAR | Means of egress for machinery rooms. | 2 | AS / AM | AS |  | N |  | AS | AS | Adds req't for IBC req's for doors and for panic hardware on doors. | Should Section 1010.1.10 be referenced? Could require panic hardware or fire exit hardware complying with Section 1010.1.10.
IBC | E | 16 |  | 1006.2.2.4 | Lee Kranz, City of Bellevue, WA | Group I-4 MOE | 2 | M | AS |  | N |  | AS | AS | Deletes section. States it's redundant with Table 1006.2. | It seems text is redundant.
IBC | E | 17 |  | 1006.2.2.4 | Ed Kulik, ICC BCAC | Electrical rooms | 1 | AS | AS |  | N |  | AS | AS | Adds req's for doors for electrical rooms. | Supposed to align with NFPA 70 NEC, John Taecker to testify.
IBC | E | 37 |  | 1010 - all sections | Ed Kulik, ICC BCAC | Doors, Gates, and Turnstiles | 1 | AS / AM | AM |  | N |  | AM | AM | Rearranges Section 1010 | No technical changes intended. ICC staff will do all the editorial revisions of I-Code text pointing to anywhere in 1010. John W - may need to testify on behalf of BCAC. Looks like error in section reference in first sentence of 1010.1.
IBC | E | 38 |  | 1010.1, plus | Greg Keith, Boeing | MOE, Corridors, Egress Courts | 2 | M | AM |  | Y | M | AMPC1 | AMPC1 | Attempting to editorially clean up charging language of several sections. | Changes in 1010.1 may conflict with E37. Could address that in testimony.
IBC | E | 38 |  | 1010.1, plus | Greg Keith, Boeing | MOE, Corridors, Egress Courts | 2 | M | AM |  | Y | M | AMPC1 | AMPC1 | PC1, Keith, Boeing, AM: Add explicit req't exit discharge to comply with specified sections.
IBC | E | 38 |  | 1010.1, plus | Greg Keith, Boeing | MOE, Corridors, Egress Courts | 2 | M | AM |  | Y | M | AMPC1 | AMPC1 | PC2, Kulik, BCAC, AM: Editorial revision of egress courts req'ts.
IBC | E | 39 |  | 1010.1.1 | John Woestman, BHMA | Size of doors | 1 | AS | AS |  | Y | AS | AS | AS | Deletes req't to limit the width of an egress door to 48 inches. | This limitation has already been removed from NFPA 101. PCH: AS 156/20
IBC | E | 39 |  | 1010.1.1 | John Woestman, BHMA | Size of doors | 1 | AS | AS |  | Y | AS | AS | AS | PC1: Pardoe, self, D:
IBC | E | 40 |  | 1010.1.1 | Eirene Knott BRR | Size of doors | 2 | M | D |  | Y | M | AMPC1 | AMPC1 | Adds exception for nonaccessible rooms | Dave Collins has questions - sent email 4/8/2018, I replied 4/9.
IBC | E | 40 |  | 1010.1.1 | Eirene Knott BRR | Size of doors | 2 | M | D |  | Y | M | AMPC1 | AMPC1 | PC1, Knott, MKCC ICC, AM: Consolidates last 3 Exceptions into on (shower doors).
IBC | E | 41 |  | 1010.1.1.1 | John Woestman, BHMA | Projections into clear opening. | 1 | AS / AM | AS |  | Y | AS | AS | AS | Revises exception to allow hardware items commonly located at top of clear opening. | PCH: AS 170/12
IBC | E | 41 |  | 1010.1.1.1 | John Woestman, BHMA | Projections into clear opening. | 1 | AS / AM | AS |  | Y | AS | AS | AS | PC1: Pardoe, self, D:
IBC | E | 42 |  | 1010.1.2 | John Woestman, BHMA | Egress door types. | 1 | AS | AS |  | N | AS | AS | AS | Revises / clarifies types of doors OK for MOE. Adds balanced doors. | AAMA willing to support AS.
IBC | E | 42 |  | 1010.1.2 | John Woestman, BHMA | Egress door types. | 1 | AS | AS |  | N | AS | WP | WP | PC1: Pardoe, self, D:
IBC | E | 43 |  | 1010.1.2, 1010.1.4.6 (new) | Joe Hetzel, DASMA | High speed doors. | 2 | M | D |  | N |  | D | D | Adds req's for high speed doors. | Allowable forces appear to agree with current code req's.
IBC | E | 44 |  | 1010.1.3 | John Woestman, BHMA | Door unlatching force and door opening force | 1 | AS | AS |  | Y | AM | AMPC1 | AMPC1 | Deletes and replaces req's for maximum forces to unlatch doors, and maximum door opening force. | AAMA willing to support AS.
IBC | E | 44 |  | 1010.1.3 | John Woestman, BHMA | Door unlatching force and door opening force | 1 | AS | AS |  | Y | AM | AMPC1 | AMPC1 | PC1: Pardoe, self, AM: | Some good revisions, but exposes entire proposal to be disapproved.
IBC | E | 45 |  | 1010.1.3.2 (new) | John Williams, HC; Ed Kullik, BCAC | Manual horizontal sliding doors. | 1 | M | AS |  | N |  | AS | AS | Adds req't to not rebound. | Implications to BHMA members? This is a current CMS req't for I-2. But, scope of proposal includes all manual horizontal sliding doors required to latch. Is there anyplace in IBC where manual sliding doors are permitted, and doors in that opening are req'd to latch? Maybe limit to Group I-1 and I-2?
IBC | E | 46 |  | 1010.1.4.1 | John Woestman, BHMA | Revolving doors - height range for E-stop switchs | 1 | AS | AS |  | N |  | AS | AS | Revise vertical range of mounting the emergency stop switch to be consistent with accessibility requirements.
IBC | E | 47 |  | 1010.1.4.3 | Bill Koffel, WonDoor | Special purpose horizontal, sliding, accordian, or folding doors | 2 | M | AS |  | N |  | AS | AS | Revises door openable req's | Looks OK.
IBC | E | 48 |  | 1010.1.4.4 | Ed Kulik, ICC BCAC; Michael O'Brian, FCAC | Locking arrangements in educational occupancies | 1 | AS | AS |  | N |  | AS | AS | Revisions to IBC and IFC req's for locking / unlocking doors in educational occupancies.
IBC | E | 49 |  | 1010.1.4.6 (new) | John Woestman, BHMA | Control vestibule | 1 | AM | D |  | Y | AMPC1 | AMPC1 | D | Defines and introduces req's for control vestibules. | Need to revise with a floor mod. Ask for disapproval AS. Need to discuss with Lori and Mark on a conference call.
IBC | E | 49 |  | 1010.1.4.6 (new) | John Woestman, BHMA | Control vestibule | 1 | AM | D |  | Y | AMPC1 | AMPC1 | D | PC1, Woestman, BHMA, AM: Revisions in attempt to address committee concerns.
IBC | E | 49 |  | 1010.1.4.6 (new) | John Woestman, BHMA | Control vestibule | 1 | AM | D |  | Y | AMPC1 | AMPC1 | D | PC2: Pardoe, self, D.
IBC | E | 50 |  | 1010.1.8 (new) | Matthew Rowley, Frederick County Gov't | Doors in infanct care areas. | 2 | M | D |  | N |  | D | D | Req's door sweep or gasket entire underside of doors to rooms used for care of children under 2.5 years. | May be an OK idea. But, doesn't seem to be a solution to stated problem.
IBC | E | 51 |  | 1010.1.9 (new) | Ed Kullik, BCAC | Vestibules | 2 | AS | D |  | Y | AMPC1 | D | D | Reminder - where req'd by IECC, vestibule is req'd.
IBC | E | 51 |  | 1010.1.9 (new) | Ed Kullik, BCAC | Vestibules | 2 | AS | D |  | Y | AMPC1 | D | D | PC1, Kulik, BCAC, AM: Add's "where IECC is adopted" qualifier.
IBC | E | 51 |  | 1010.1.9 (new) | Ed Kullik, BCAC | Vestibules | 2 | AS | D |  | Y | AMPC1 | D | D | PC2, Boecker, Code Consultants, self: AS
IBC | E | 51 |  | 1010.1.9 (new) | Ed Kullik, BCAC | Vestibules | 2 | AS | D |  | Y | AMPC1 | D | D | PC3, Collins, AIA: AS
IBC | E | 52 |  | 1010.1.9.4 | John Williams, HC | Locks - prevent operation | 1 | M | AS |  | Y | M | AMPC1 | AMPC1 | In Group I-1 Condition 2, and Group I-2, permits locks to prevent door operation if specified conditions are met.
IBC | E | 52 |  | 1010.1.9.4 | John Williams, HC | Locks - prevent operation | 1 | M | AS |  | Y | M | AMPC1 | AMPC1 | PC1, Williams, HC, AM: inserts "all" in several locations.
IBC | E | 52 |  | 1010.1.9.4 | John Williams, HC | Locks - prevent operation | 1 | M | AS |  | Y | M | AMPC1 | AMPC1 | PC2, Sujeski, CALFIRE, D.
IBC | E | 53 |  | 1010.1.9.4, 10101.1.10 | Lee Kranz, WABO | Locks - prevent operation | 1 | M | D |  | Y | M | AMPC1 | AMPC1 | Adds new Items 7, 8, & 9 allowing locks on doors to prevent operation. Adds coordinating exception in 1010.1.10 for exterior areas. | Too prescriptive? Need to review implications. Errata.
IBC | E | 53 |  | 1010.1.9.4, 10101.1.10 | Lee Kranz, WABO | Locks - prevent operation | 1 | M | D |  | Y | M | AMPC1 | AMPC1 | PC1, Kranz, WABO, AM: Limits occupant load of exterior area to 300 max.
IBC | E | 54 |  | 1010.1.9.6 | John Woestman, BHMA | Locks and Latches: Unlatching | 1 | AS | AM |  | N |  | AM | AM | Revises text to be consistent with, and adds reference to new BHMA A156.41 standard for single operation egress | Prepare a floor mod to remove reference to A156.41, in case there's opposition to adding the new BHMA standard. Need errata to correct reference to new standard - notified ICC staff 3/24/2018. Bring copies of standard for placement in back of room.
IBC | E | 55 |  | 1010.1.9.7 | John Williams, HC | Controlled egress doors | 2 | M | AS |  | N |  | AS | AS | Deletes option for heat detection system in charging paragraph. Revises to smoke detection system in Item 1.
IBC | E | 56 |  | 1010.1.9.7, 1010.1.9.8.1, 1010.1.9.9 | Jonathan Roberts, UL | Controlled egress doors | 1 | D | WP |  | N |  | WP | WP | Where UL294 is required, adds req't to be listed to UL1034 for electric locks or electronic locking mechanisms. Ask Howard to have this proposal withdrawn. | 1034-11: Standard f or Burglary-Resistant Electric Locking Mechanisms - with revisions through 2015. UL 1034 includes static strength req's, dynamic strength req's, and cycle testing. Seems to be similar to BHMA A156.23 Electromagnetic Locks. Check with Howard Hopper to see what this is about.
IBC | E | 57 |  | 1010.1.9.7 | John Williams, HC | Controlled egress doors | 2 | M | AS |  | N |  | AS | AS | Adds "cognitive" qualifier in Exception 1.
IBC | E | 58 |  | 1010.1.9.8, 1010.1.10 | Ed Kullik, BCAC | Delayed Egress Locking Systems | 2 | M | D |  | Y | AMPC1 or AMPC2 | AMPC1 | AMPC1 | Editorial revision in 1010.1.9.8; adds coordinating exception to 1010.1.10.
IBC | E | 58 |  | 1010.1.9.8, 1010.1.10 | Ed Kullik, BCAC | Delayed Egress Locking Systems | 2 | M | D |  | Y | AMPC1 or AMPC2 | AMPC1 | AMPC1 | PC1, Kulik, BCAC, AM: limits courtrooms to A-3 and B occupancies.
IBC | E | 58 |  | 1010.1.9.8, 1010.1.10 | Ed Kullik, BCAC | Delayed Egress Locking Systems | 2 | M | D |  | Y | AMPC1 or AMPC2 | AMPC1 | AMPC1 | PC2, Sujeski, CALFIRE, AM: Limites to Group A and Group B.
IBC | E | 59 |  | 1010.1.9.8.1 | John Williams, HC | Delayed Egress Locking Systems | 2 | M | AS |  | N |  | AS | AS | In exceptions to Item 5 (egress path), identifies where I-1, Conditions 1, and 2, are applicable. | Condition 1. All persons receiving care who, without any assistance, are capable of responding to an emergency situation to complete building evacuation. Condition 2. Any persons receiving custodial care who require limited verbal or physical assistance while responding to an emergency situation to complete building evacuation.
IBC | E | 60 |  | 1010.1.9.8 | John Woestman, BHMA | Delayed Egress Locking Systems | 1 | AS | D |  | Y | AS | D | D | Add reference to A156.24 to IBC Delayed Egress Locking Systems.
IBC | E | 60 |  | 1010.1.9.8 | John Woestman, BHMA | Delayed Egress Locking Systems | 1 | AS | D |  | Y | AS | D | D | PC1, Woestman, BHMA, AS: Attempt to address / explain committee concerns.
IBC | E | 61 |  | 1010.1.9.9 | John Williams, HC; Ed Kullik, BCAC | Sensor release of electrically locked egress doors | 2 | M | AS |  | N |  | AS | AS | Adds req't for emergency lighting on egress side of door.
IBC | E | 62 |  | 1010.1.9.12 | John Woestman, BHMA | Stairway doors | 1 | AS | D |  | Y | AS | D | D | Adds req't in Item 3 these locks be listed to UL 294.
IBC | E | 62 |  | 1010.1.9.12 | John Woestman, BHMA | Stairway doors | 1 | AS | D |  | Y | AS | D | D | PC1, Woestman, BHMA, AS: Attempt to address / explain committee concerns.
IBC | E | 63 |  | 1010.1.10 | Scott Clough, U of Virginia | Panic and fire exit hardware. | 1 | D | D |  | N |  | D | D | Revises door req's for electrical rooms. | BCAC to oppose. John Taecker to speak on this.
IBC | E | 64 |  | 1010.1.10, 1010.1.10.1 (new) | Ed Kullik, BCAC | Panic and fire exit hardware. | 1 | AS | AS |  | Y | AMPC1 | AMPC1 | AMPC1 | Deletes and replaces door req's for electrical equipment rooms. | John Taecker to speak on this.
IBC | E | 64 |  | 1010.1.10, 1010.1.10.1 (new) | Ed Kullik, BCAC | Panic and fire exit hardware. | 1 | AS | AS |  | Y | AMPC1 | AMPC1 | AMPC1 | PC1, Kulik, BCAC, AM: Editorial clarifications of new / revised req's.
IBC | E | 65 |  | 1010.1.10.1 | John Woestman, BHMA | Panic and fire exit hardware, A156.3 | 1 | AS | D |  | N |  | D | D | Add reference to A156.3 where UL305 is included in the code | Lou Chavez was on the NFPA 101 committee when A156.3 was presented there.
IBC | E | 85 |  | 1016.2 | Homer Maiel, ICC Tri-Chapter | Egress through intervening spaces | 2 | M | AS |  | N |  | AS | AS | Revises req's for exit access through enclosed elevator lobby.
IBC | E | 86 |  | 1017.3 | John Terry | Exit access travel distance | 2 | M | AM |  | Y | M | AM | AM | Adds req't to measure travel distance to nearest exit.
IBC | E | 86 |  | 1017.3 | John Terry | Exit access travel distance | 2 | M | AM |  | Y | M | AM | AM | PC1, Kulik, BCAC, AM: Revises to require measuring travel distance to nearest exit.
IBC | E | 96 |  | 1023.2 | Greg Keith, Boeing | Enclosures for interior exit stairways | 2 | AS | D |  | Y | M | D | D | Deletes exception 2.
IBC | E | 96 |  | 1023.2 | Greg Keith, Boeing | Enclosures for interior exit stairways | 2 | AS | D |  | Y | M | D | D | PC1, Keith, Boeing, AS.
IBC | E | 107 |  | 1030.1 | Ed Kullik, BCAC | EERO - where required | 2 | M | AM |  | Y | M | AMPC1 | AMPC1 | Adds exception (in errata) that exempts EERO's where construction per ICC 500 storm shelter. | Errata AM Thomas 2 Floor Mod
IBC | E | 107 |  | 1030.1 | Ed Kullik, BCAC | EERO - where required | 2 | M | AM |  | Y | M | AMPC1 | AMPC1 | PC1, Keith, Boeing, AM: Adds a "general" clause at beginning of text.
IBC | E | 110 |  | 1010.3 | Ed Kullik, BCAC | EERO doors | 2 | M | AS |  | N |  | AS | AS | Proposes where a door is provided as the EERO, must be a swinging door or sliding door.
IBC | E | 115 |  | 1105.1, 1105.1.1 (new) | Joe Hetzel, DASMA | Public entrances, automatic doors. | 1 | AS | AS |  | Y | AS | AMPC1&2 | AMPC1&2 | If occupant load exceeds threshold, adds req't for power-operated door or for low-energy power operated door. | PCH: AMPC1&2 116/27 Should be consistent with defined terms - may need revision. Or require doors to be installed and comply with 1010.1.4.2. Would be good to include in IBC - but will be perceived as "sell more power operated doors" and self-serving.
IBC | E | 115 |  | 1105.1, 1105.1.1 (new) | Joe Hetzel, DASMA | Public entrances, automatic doors. | 1 | AS | AS |  | Y | AS | AMPC1&2 | AMPC1&2 | PC1, Chappel, SDoCI, AM: Clarifies where "one" power operated door is req'd. Similar to PC3
IBC | E | 115 |  | 1105.1, 1105.1.1 (new) | Joe Hetzel, DASMA | Public entrances, automatic doors. | 1 | AS | AS |  | Y | AS | AMPC1&2 | AMPC1&2 | PC2, Chappel, SDoCI, AM: Footnote to Table to address mixed use occupancies.
IBC | E | 115 |  | 1105.1, 1105.1.1 (new) | Joe Hetzel, DASMA | Public entrances, automatic doors. | 1 | AS | AS |  | Y | AS | AMPC1&2 | AMPC1&2 | PC3, Kranz, WABO, AM: Clarifies where "one" power operated door is req'd. Similar to PC1.
IBC | E | 133 |  | 1109.13 | Dawn Anderson, Dan Buuck, NAHB, Dave Collins, AIA, Marsha Mazz, US AB | Controls, operating mechanism, and hardware | 2 | M | AS |  | N |  | AS | AS | Revises list of Exceptions, and references A117.1 for exemptions.
IFC | F | 37 |  | 404.1 | Joe McElvaney | Fire safety, evacuation, and lockdown plans | 2 | M | D |  | Y | M | D | D | Removes condition "where required by Section 403". | Perhaps should revise 403 to include req's for lockdown plans.
IFC | F | 37 |  | 404.1 | Joe McElvaney | Fire safety, evacuation, and lockdown plans | 2 | M | D |  | Y | M | D | D | PC1, Sampson, AS.
IFC | F | 39 |  | 404 | ICC Healthcare, FCAC | Lockdown plans | 2 | M | AM |  | N |  | AM | AM | Revises / clarifies when lockdown plans are req'd, and drill req's. | What are implications to Group E? Deleting 404.2.3 leaves a gap in IFC.
IFC | F | 162 |  | 909.20 (new) | Kevin Scott | Smokeproof enclosures | 2 | M | AS |  | N |  | AS | AS | Proposes new req's for construction of smokeproof enclosures. | Same req's as Section 909.20 of IBC?
IFC | F | 188 |  | 1105.5.4.2.2 | ICC Healthcare | Corridor doors | 1 | M | AS |  | N |  | AS | AS | Replaces "undercut" with "clearance between bottom of door and floor". Req's hold open devices to be capable of manual release. Allows protective plates to be any size.
IBC | FS | 1 |  | 703.2, 703.3, 703.4 | Jeff Shapiro, IIAR | Sprinklers and fire-resistance ratings | 2 | M | AM |  | N |  | AM | AM | Revises text re req's for prohibiting use of fire sprinklers during tests of fire-resistance. | FCAC to support.
IBC | FS | 39 |  | 710.5.3 | John Williams, HC | Pass through openings | 2 | M | AS |  | Y | M | AMPC1 | AMPC1 | Proposes criteria for pass-through openings.
IBC | FS | 39 |  | 710.5.3 | John Williams, HC | Pass through openings | 2 | M | AS |  | Y | M | AMPC1 | AMPC1 | PC1, Williams, HC, AM: Minor revisions.
IBC | FS | 56 |  | Table 716.1(2) | Kellie Saylor, CCC of CC | Opening fire protection assemblies, ratings and markings | 2 | AS | D |  | Y | M | AMPC1 | AMPC1 | Adds new footnote f which req's each of the two doors in the same opening to comply with Table req's | Errata - can't find what errata is adding. D 8/6
IBC | FS | 56 |  | Table 716.1(2) | Kellie Saylor, CCC of CC | Opening fire protection assemblies, ratings and markings | 2 | AS | D |  | Y | M | AMPC1 | AMPC1 | PC1, Archer, City of Lone Tree, AM: deletes and replaces footnote; states two 20-minute doors is equivalent to 45 minute rated door.
IBC | FS | 56 |  | Table 716.1(2) | Kellie Saylor, CCC of CC | Opening fire protection assemblies, ratings and markings | 2 | AS | D |  | Y | M | AMPC1 | AMPC1 | PC2, Pate, CCCC, AS.
IBC | FS | 57 |  | Table 716.1(2), 716.2.5.1.2.2 | Tom Zaremba, GICC | Opening fire protection assemblies, ratings and markings | 2 | M | D |  | N |  | D | D | Revises req's for fire-protection-rated glazing in some doors. | Errata - can't find what errata is adding.
IBC | FS | 58 |  | Table 716.1(2), 716.2.2.3.1 | Tom Zaremba, GICC | Opening fire protection assemblies, ratings and markings | 2 | M | D |  | N |  | D | D | Revises req's for fire-protection-rated glazing in some doors. | Errata - clarrification.
IBC | FS | 61 |  | Table 716.1(2), 716.2.2.3.1 | Kurt Roeper, ASSA ABLOY | Opening fire protection assemblies, ratings and markings | 2 | M | D |  | N |  | D | D | Revises req's for fire-protection-rated glazing in some doors. | Errata - clarrification.
IBC | FS | 60 |  | New | John Woestman, BHMA | Door frames with terminated stops | 1 | AS | AS |  | Y | AS | AS | AS | Prohibits door frames with terminated stops in specific locations. | AS: 182/24
IBC | FS | 60 |  | New | John Woestman, BHMA | Door frames with terminated stops | 1 | AS | AS |  | Y | AS | AS | AS | PC1, Pardoe, AM: Rewrites committee-approved language as exceptions. | Not moved
IBC | FS | 60 |  | New | John Woestman, BHMA | Door frames with terminated stops | 1 | AS | AS |  | Y | AS | AS | AS | PC2, Pardoe, D. | Not moved
IBC | G | 13 |  | Chapter 3 | BCAC | Occupancy-specific req's | 2 | AS | AS |  | N |  | AS | AS | Adds reminder in 305.3 that storm shelters are req'd for some Group E occupancies.
IBC | G | 14 |  | 303.1 | BCAC | Assembly group A | 2 | M | D |  | N |  | D | D | Sets Occupant Load of 300 as limit for space associated with Group E to not be considered Assembly Group A.
IBC | G | 42 |  | 407.3.1.1 (new), 710.5.2.1 | Healthcare Committee | Door construction - corridor doors | 2 | M | AS |  | N |  | AS | AS | Adds specific construction req's for corridor doors not required to be fire rated. Adds exception for louvers in smoke partition doors where permitted by 407.3.1.1.
IBC | G | 46 |  | 407.6.1 (new) | Healthcare Committee | Activation of automatic-closing doors. | 2 | M | AS |  | N |  | AS | AS | Add's req't that all automatic-closing doors of a smoke compartment are to close upon activation.
IBC | G | 48 |  | 411.1 | Angie Wiese | Amusement area | 2 | M | AS |  | N |  | AS | AS | Revises req's in this section, addresses MOE and fire sprinkler req's
IBC | G | 50 |  | 415.7 (new) | Tracie Dutter, Cal Fire Chief's Assn | Fire dept access doors. | 2 | M | D |  | N |  | D | D | Add's req's for fire dept access doors in Group H
IBC | G | 59 |  | 423 | BCAC | Storm shelters | 2 | M | AS |  | N |  | AS | AS | Revises req's for storm shelters.
IBC | G | 60 |  | 423 | Benchmark Harris | Group E storm shelters | 2 | M | D |  | N |  | D | D | Specifies Group E req's tornado storm shelters
IBC | G | 61 |  | 423.4 | Benchmark Harris | Group E storm shelters | 2 | M | D |  | N |  | D | D | Attempts to clarify Group E day care facilities exemption for storm shelters
IBC | G | 62 |  | 423.4 | Benchmark Harris | Group E storm shelters | 2 | M | D |  | N |  | D | D | Attempts to clarify Group E accessory to places of worship exemption for storm shelters
IBC | G | 63 |  | 423.4.1 | Daniel Dain | Storm shelters | 2 | M | D |  | N |  | D | D | Revises occupant capacity determination for Group E storm shelters
IBC | G | 64 |  | 423.4.1 | Benchmark Harris | Storm shelters | 2 | D | D |  | N |  | D | D | Deletes Item 2 of required occupant capacity
IBC | G | 65 |  | 423.4.1 | Benchmark Harris | Storm shelters | 2 | D | AS |  | N |  | AS | AS | Revises Item 2 of required occupant capacity
IBC | G | 72 |  | 308.1.1 (new), 429 (new) | Dave Frable, GSA | Lock-ups | 2 | M | D |  | Y | M | D | D | Introduces definition of a lock-up. Adds req's for lock-ups. Introduces ASTM F1577, Standard Test Methods for Detention Locks for Swinging Doors. | Many testified in support. D 9/5 @ CAH, D 265/21 @ PCH
IBC | G | 72 |  | 308.1.1 (new), 429 (new) | Dave Frable, GSA | Lock-ups | 2 | M | D |  | Y | M | D | D | PC1, Collins, AIA, AS.
IBC | P | 22 | 1 | 1109.2.1.7 | Jason Phelps, Self | Privacy - toilet and bathing rooms | 2 | M | AS |  | Y | M | AS | AS | Requires an "occupied" indicator on door hardware
IBC | P | 22 | 1 | 1109.2.1.7 | Jason Phelps, Self | Privacy - toilet and bathing rooms | 2 | M | AS |  | Y | M | AS | AS | PC1, Phelps, AM:
IPC | P | 22 | 2 | 403.3.7, 2902.3.7 | Jason Phelps, Self | Privacy - toilet and bathing rooms | 2 | M | D |  | Y | M | D | D | Requires an "occupied" indicator on door hardware
IPC | P | 22 | 2 | 403.3.7, 2902.3.7 | Jason Phelps, Self | Privacy - toilet and bathing rooms | 2 | M | D |  | Y | M | D | D
ISPC | SP | 8 |  | 305.3 | Dawn Anderson, Dan Buuck, NAHB, Dave Collins, AIA, Marsha Mazz, US AB | Doors and gates | 1 | M | AS |  | Y | AMPC1 | AS | AS | Revises and expands req's for hardware for doors and gates controlling access to polls and spas.
ISPC | SP | 8 |  | 305.3 | Dawn Anderson, Dan Buuck, NAHB, Dave Collins, AIA, Marsha Mazz, US AB | Doors and gates | 1 | M | AS |  | Y | AMPC1 | AS | AS | PC1, Hatfield, APSA, AM: Minor editorial revision.
ISPC | SP | 9 |  | 305.3 | Jennifer Hatfield | Doors and gates | 1 | M | WP |  | N |  | WP | WP | Revises latch req's for doors and gates to pools and spas. | WP based on AS on SP8.
ISPC | SP | 22 |  | 305.3 | Jennifer Hatfield | Equipment rooms | 2 | M | AS |  | N |  | AS | AS | Proposes req's for equipment rooms; includes door req's.